ESD compliance verifier

Exam guidelines

2020

IQCS

First written test

ESD compliance verifier

| Field | Quality area | Qualification | ESD compliance verifier | Valid date | 2020 |
| --- | --- | --- | --- | --- | --- |
| Exam type | Multiple choice | No. of Ques. | 40 | Exam hour | 90 minutes |
| Title | Sub title | Detail |  | No. of Ques. | Distribution |
| ANSI/ESD S20.20 | 1. ESD Control program | - ESD control program requirements - ESD control program manager of coordinator |  | 10 | 25% |
|  | 2. ESD control program Administration requirements | - ESD control program plan - Training plan - Product qualification plan - Compliance verification plan |  |  |  |
|  | 3. ESD control program technical requirements | - Grounding/Equipotential - Personnel grounding - Package and marking |  |  |  |
| ESD TR-53 테스트 장비 | 1. Test equipment(1) | - AC outlet analytzer - AC circuit tester - Charged plate monitor(CPM) - DC Ohmmeter |  | 10 | 25% |
|  | 2. Test equipment (2) | - Concentric ring electrode assembly - Electrostatic field meter - Electrostatic voltage meter - Foot electrode - Hand-held electrode - Insulative support surface - Integrated checker - Resistance measurement apparatus - Resistance measurement electrodes - Two-point probe |  |  |  |
| Compliance verification of ESD protective equipment and materials | 1. ESD protective equipment and materials | - Grounding/Bonding systems - Worksurfaces - Wrist straps - Constant monitors - Footwear - Flooring - Garments - Ionizer - Seating - Mobile equipment(Carts) - Elecrical soldering/Disoldering hand toos - Gloves and finger cots - Packaging |  | 20 | 50% |

2nd practical test

ESD compliance verifier

| Field | Quality area | Qualification | ESD compliance verifier | Valid date | 2020 |
| --- | --- | --- | --- | --- | --- |
| Exam type | Short answer | No. of Ques. | 10-20 | Exam hour | 120 minutes |
| Title | Sub title | Detail |  | No. of Ques. | Distribution |
| Compliance verification of ESD protective equipment and materials | Compliance verification practice of ESD protection equipment | - Charged plate monitor(CPM) - Concentric ring electrode assembly - Electrostatic field meter - Foot electrode - Hand-held electrode - Insulative support surface - Integrated checker - Resistance measurement apparatus - Resistance measurement electrodes - Two-point probe |  | 20 | 50% |
|  | Compliance verification practice of ESD materials | - Grounding/Bonding systems - Worksurfaces - Wrist straps - Constant monitors - Footwear - Flooring - Garments - Ionizer - Seating - Mobile equipment(Carts) - Elecrical soldering/Disoldering hand toos - Gloves and finger cots - Packaging |  | Depends on percentage | 100% |