Explosion Proof Safety Manager

Exam guidelines

2020

IQCS

First written test

Explosion Proof Safety Manager

| Field | Safety area | Qualification | Explosion proof safety manager | Valid date | 2020 |
| --- | --- | --- | --- | --- | --- |
| Exam type | Multiple choice | No. of Ques. | 40 | Exam hour | 90 minutes |
| Title | Sub title | Detail |  | No. of Ques. | Distribution |
| Explosion-proof safety and foundation | 1. Hazard and Risk assessment | - Hazzard recognition - Risk assessment and control - Electrical equipment and risk and risk assessment |  | 10 | 25% |
|  | 2. Fire, explosion overview | - Principle and form of combustion - Kind of explosion and preventive measures - Type of ignition source |  |  |  |
|  | 3. Category of explosion hazard place | - Ignition of flammable substances - Range of explosion hazard location - Classification of explosion hazard place by IEC - Ground system |  |  |  |
| Electrical explosion | 1. Electrical installation system | - Ground system - Electrical installation system - Electrical equipment PLC system |  | 10 | 25% |
|  | 2 Structure and type of explosion-proof electrical equipment | - Classification of protection method - Explosion-proof technology by type(Ex d, Ex q) - Explosion-proof technology by type(Ex p, Ex o, Ex m) - Explosion-proof technology by type(Ex e, Ex n, Ex I) |  |  |  |
|  | 3. Cables for ship and plant | - Cable type and structure - Cable test and notation |  |  |  |
| Electrical equipment & instrumentation | 1. Instrumentation basics | - Understanding the principle of measurement method - Process flow diagram - Process and instrument diagram - Loop diagram - Functional diagram - Instrument/process equipment symbols |  | 5 | 12.5% |
|  | 2. Electrical equipment & instrumentation practice | Understanding of electric system in general Electrical system safety and maintenance Instrumentation equipment Practice data analysis and result |  | 10 | 25% |
|  | 3. Installation process of electrical equipment & instrumentation | Understanding of explosion-proof electrical equipment Explosion-proof facility design, selection, construction, inspection |  | 5 | 12.5% |

2nd practical test

Explosion Proof Safety Manager

| Field | Safety area | Qualification | Explosion proof safety manager | Valid date | 2020 |
| --- | --- | --- | --- | --- | --- |
| Exam type | Short answer | No. of Ques. | 10-20 | Exam hour | 120 minutes |
| Title | Sub title | Detail |  | No. of Ques. | Distribution |
| Electrical explosion practice | 1. Install explosion-proof electrical equipment | - Selecting explosion-proof electrical equipment by risk place - Cable glanding - Equipment selection review |  | Depends on percentage | 100% |
|  | 2. Examination and maintenance of explosion-proof electrical equipment | - Examination of explosion-proof electrical equipment by type - Explosion-proof electrical equipment maintenance inspection by type - Prepare explosion-proof electrical equipment check list by type |  |  |  |
|  | 3. Safety and maintenance of electrical systems | - Electrical diagram - Electrical safety and electrical shock - Insulation resistance and circuit test - Insulation strength test voltage and continuous test - Electrical fault check - General maintenance of electricity |  |  |  |
|  | 4. Instrumentation installation and control | - Understanding piping and piping fittings - Understanding tube and tube fittings |  |  |  |
| Electrical equipment & instrumentation | 1. Hazard & Risk Assessment | - Hazard recognition - Risk assessment and control - Risk control hierarchy - Electrical equipment & instrumentation equipment and hazard and risk management practices - Hazardous area classes and hazards - Electrical equipment & instrumentation equipment rating and hazard |  | Depends on percentage | 100% |
|  | 2. Explosion-proof electric /electrical equipment & instrumentation | - Explosion-proof technology by type - Product standards, marking, certification system, certificate - Examination of explosion proof equipment - Cable type and structure - Cable test and notation - Cable glanding and connecting practice |  |  |  |
|  | 3. Intrinsic safety explosion equipment and instrumentation system | - Design of explosion-proof electrical equipment & instrumentation equipment - Selection of explosion-proof electrical equipment & instrumentation equipment - Electrical equipment explosion-proof condition - Electric equipment protection equipment requirements - Conditions for power off and isolation action - Conditions for cable and wiring work - Conditions for cable entry equipment - Conditions for rotating equipment - Conditions for lighting fixtures - Purchase conditions for explosion-proof type |  |  |  |
|  | 4. Safety & Maintenance | - PLC system - Insulation resistance and circuit test - Electrical fault check - Safety and maintenance of electrical systems - Inspection and maintenance of explosion proof equipment for all instrumentation - Test of explosion equipment |  | Depends on percentage | 100% |